## Georgian EMT
Georgian EMT equipment
# | Description | Category | Sub-category | UoM | Quantity | Tech Spec
1 | Inflatable Rescue Tent HF-15E | Shelter & Camp Infrastructure | Medical / Rescue Shelter | each | 1 | Inflatable rescue tent, 3.00 × 5.60 × 3.00 m, with deployment accessories.
2 | Inflatable Rescue Tent HF-55E | Shelter & Camp Infrastructure | Medical / Rescue Shelter | each | 2 | Inflatable rescue tent, 10.95 × 5.60 × 3.00 m, with deployment accessories.
3 | Inflatable Hub Tent HF-42.4E | Shelter & Camp Infrastructure | Hub / Coordination Shelter | each | 1 | Inflatable hub tent, 8.30 × 5.60 × 3.00 m, with four entrances and deployment accessories.
4 | Inflatable Morgue Tent HF-42E | Shelter & Camp Infrastructure | Mortuary Shelter | each | 1 | Inflatable morgue tent, 8.30 × 5.60 × 3.00 m, with deployment accessories.
5 | Water Tank 5000L | Water & Sanitation | Dirty Water Storage | each | 2 | Portable 5000L water tank for dirty water storage, including protective cover and transport bag.
6 | Water Distribution Valve Set | Water & Sanitation | Water Distribution Components | each | 4 | 2.5” valve set with C52 connection for water distribution system.
7 | Water Pipe Adapter | Water & Sanitation | Pipe Fittings & Adapters | each | 4 | Water pipe reduction adapter C52–D25 for SkyHydrant water system.
8 | SkyHydrant Water Purification System | Water & Sanitation | Water Purification | each | 2 | Mobile water purification system, including SkyHydrant units and spare kit.
9 | Shower Cabin | Hygiene & Sanitation | Shower Facilities | each | 4 | Portable inflatable shower cabin, 152 × 152 × 213 cm, with booth, sprayer and carrying accessories.
10 | Shower System | Hygiene & Sanitation | Mobile Hygiene Equipment | each | 2 | Battery-operated portable shower system with hot water generator and propane connection.
11 | Dead Body Bag | Medical Consumables | Mortuary Supplies | each | 40 | Mortuary body bags, black and white versions.
12 | Food Storage Shelving | Camp Infrastructure | Storage Furniture | each | 2 | Metal shelving for food storage, approx. 8 m length and 2 m height.
13 | Foldable Table | Camp Infrastructure | Field Furniture | each | 15 | Portable foldable table, 1.5 m length, with steel legs and carrying handle.
14 | Folding Chair, Two-person | Camp Infrastructure | Seating | each | 32 | Portable folding chair for two persons, with arm rests and cup holders.
15 | Folding Chair, One-person | Camp Infrastructure | Seating | each | 14 | Portable folding chair for one person, with arm rests and cup holders.
16 | Dishwashing Washbasin | Hygiene & Sanitation | Washing Facilities | each | 1 | Stainless steel two-section washbasin with towel dispenser and 15L water tank.
17 | Portable Washbasin | Hygiene & Sanitation | Handwashing Facilities | each | 5 | Portable stainless steel washbasin with 40L water tank, soap dispenser and storage drawers.
18 | Medical Privacy Divider | Camp Infrastructure | Privacy & Partition Equipment | each | 13 | Mobile medical privacy curtain, approx. 2 m height, with rolling stand.
19 | Detachable Stretcher | Medical Equipment | Patient Transport | each | 14 | Detachable emergency stretcher with height lifting and back adjustment, suitable for transport and rescue use.
20 | Pediatric Spine Board | Medical Equipment | Patient Immobilization | each | 1 | Pediatric spine board made of polyethylene, X-ray compatible, with fixation belt.
21 | Child Delivery Table | Medical Equipment | Obstetric Equipment | each | 1 | Flexible delivery table for maternity and labour room use.
22 | Delivery / Treatment Counter | Medical Equipment | Obstetric Equipment | each | 1 | Adjustable obstetric treatment unit with leg supports, U-cut seat and CPR positioning.
23 | Tablet Cutter / Counting Tray | Medical Equipment | Pharmacy Tools | each | 1 | Pill counting tray / tablet counter.
24 | Fleece Wipes | Medical Consumables | Cleaning & Disinfection | each | 15 | Medical fleece wipes for cleaning and maintenance use.
25 | Medical Probes Set | Medical Instruments | Surgical Instruments | set | 2 | Hollow and blunt surgical probes, stainless steel.
26 | Sharp Curette Set | Medical Instruments | Gynecology Instruments | set | 8 | Assorted sharp curettes in different models and sizes.
27 | Dissecting Scissors Set | Medical Instruments | Surgical Instruments | set | 12 | Assorted Mayo and Metzenbaum dissecting scissors in different sizes and shapes.
28 | Medical Cups | Medical Consumables | General Medical Supplies | each | 1 | Graduated medical cups, 30 ml, pack of 75 pcs.
29 | Disposable Operation Drapes | Medical Consumables | Sterile Consumables | each | 200 | Sterile disposable operation drapes, 45 × 75 cm.
30 | Urine Reagent Cartridges | Laboratory Equipment | Diagnostic Consumables | each | 50 | Urine reagent cartridges compatible with Uryxxon Relax system.
31 | Medical Storage Containers | Medical Consumables | Medical Storage & Containers | each | 17 | Plastic medical storage containers, including 20L and covered storage boxes.
32 | Water Quality Analyzer | Water & Sanitation | Water Testing Equipment | each | 1 | Portable water quality analyzer with pH, conductivity, dissolved oxygen and ion measurement functions.
33 | Sterilization Packages | Sterilization Equipment | Sterilization Consumables | each | 500 | Sterilization packages compatible with BINDER FD 53 autoclave.
34 | Sterilization Bags | Sterilization Equipment | Sterilization Consumables | each | 200 | Sterilization bags in different sizes.
35 | Neonatal Stethoscope | Medical Equipment | Diagnostic Equipment | each | 1 | Neonatal double-sided stethoscope with stainless steel chestpiece.
36 | Portable Waveform Capnograph | Medical Equipment | Monitoring Equipment | each | 2 | Portable capnograph for end-tidal CO2 and respiration rate monitoring.
37 | Wheelchair | Medical Equipment | Patient Mobility | each | 2 | Heavy-duty foldable wheelchair for patient transport and outdoor use.
38 | Bag Valve Mask, Adult | Medical Equipment | Airway & Resuscitation | each | 2 | Disposable adult BVM resuscitation device with CPR mask.
39 | Bag Valve Mask, Child | Medical Equipment | Pediatric Resuscitation | each | 6 | Disposable child BVM resuscitation device with CPR mask.
40 | Bag Valve Mask, Neonatal | Medical Equipment | Neonatal Resuscitation | each | 1 | Disposable neonatal BVM resuscitation device with CPR mask.
41 | Autoclave Rack | Sterilization Equipment | Sterilization Accessories | each | 1 | Rack for BINDER FD 53 autoclave.
42 | Emergency Medical Backpack Case | Medical Equipment | Emergency Medical Storage | each | 1 | Emergency medical backpack case with configurable compartments and oxygen tube access.
43 | Oxygen High-pressure Socket | Medical Equipment | Oxygen Supply Components | each | 10 | Socket component for high-pressure medical oxygen delivery system.
44 | Oxygen High-pressure Pipe | Medical Equipment | Oxygen Supply Components | each | 50 | High-pressure pipe for medical oxygen delivery.
45 | Oxygen Tube Tee | Medical Equipment | Oxygen Supply Components | each | 10 | Tee connector for medical oxygen delivery system.
46 | Oxygen Cylinder with Regulator | Medical Equipment | Oxygen Therapy Equipment | each | 2 | Oxygen cylinder with reducer and flow regulator, compatible with oxygen delivery components.
47 | Emergency Backpack Container Module | Medical Equipment | Emergency Medical Storage | each | 1 | Additional container module for emergency medical backpack.
48 | Catering Urn / Tea Thermos | Kitchen & Catering Equipment | Beverage Distribution Equipment | each | 1 | Stainless steel 20L hot water / beverage warmer.
49 | Portable Induction Hob | Kitchen & Catering Equipment | Cooking Appliances | each | 1 | Portable double-burner induction hob, 220V.
50 | Automatic Washing Machine | Hygiene & Sanitation | Laundry Equipment | each | 1 | Automatic washing machine, 6 kg capacity, with drain pump and LCD display.
51 | Electric Plug Set | Electrical Equipment | Electrical Accessories | each | 66 | IP44 electric plug with four Schuko sockets.
52 | Field Lamps | Power & Lighting | Field Lighting | each | 6 | 54W field lamps with IP65 protection and serial connection capability.
53 | LED Surgical Light | Medical Equipment | Surgical Lighting | each | 1 | Shadowless LED surgical operation lamp, 150,000 lux.
54 | Voltage Stabilizer | Electrical Equipment | Power Stabilization | each | 2 | Voltage stabilization equipment for field electrical systems.
55 | Laptop | ICT & Communications | Computer Equipment | each | 2 | Lenovo ThinkPad E16 laptop, 16”, i5, 8GB RAM, 512GB SSD.
56 | Satellite Phone | ICT & Communications | Emergency Communications | each | 2 | Iridium 9555N satellite phone.
57 | Printer, Color Laser | ICT & Communications | Printing Equipment | each | 1 | HP Color Laser 150nw printer.
58 | Printer, Multifunction Laser | ICT & Communications | Printing Equipment | each | 1 | HP Laser MFP 137fnw multifunction printer.
59 | Satellite Internet System | ICT & Communications | Satellite Connectivity | each | 1 | Thales MissionLink 700 fixed / vehicular satellite internet system.
60 | Wi-Fi Router | ICT & Communications | Network Equipment | each | 4 | TP-Link Archer AX23 dual-band Wi-Fi 6 router.
61 | GPS Device | ICT & Communications | Navigation Equipment | each | 1 | Garmin GPSMAP 65 navigation device.
62 | Safety Fence | Site & Outdoor Equipment | Safety Barriers | meter | 500 | Orange plastic mesh safety fence roll barrier.
63 | Pole Barriers | Site & Outdoor Equipment | Crowd & Area Control | each | 100 | Pole barriers with weighted stands.
64 | Folding Shovel | Site & Outdoor Equipment | Field Tools | each | 3 | Lightweight foldable shovel for field use.
65 | Mini D-Handle Shovel | Site & Outdoor Equipment | Field Tools | each | 3 | Mini square-head shovel with D-handle.
66 | Garden Rake | Site & Outdoor Equipment | Field Maintenance Tools | each | 1 | Garden rake, approx. 30 cm width and 130 cm length.
67 | Waste Bin | Hygiene & Sanitation | Waste Management | each | 15 | 120L wheeled plastic waste bins in different colors.
68 | Safety Work Gloves | PPE & Safety Equipment | Protective Gloves | pack | 2 | Latex-coated protective work gloves, pack of 12 pairs.
69 | Safety Glasses | PPE & Safety Equipment | Eye Protection | each | 10 | Clear lens wraparound safety glasses.
70 | Extension Cable | Electrical Equipment | Power Distribution | each | 20 | 220–240V extension cable, 5 m, with 6 sockets.
71 | Whiteboard with Stand | Office & Training Equipment | Presentation Equipment | each | 2 | Double-sided whiteboard with stand, 120 × 90 cm.
72 | Hand Wash Station | Hygiene & Sanitation | Handwashing Facilities | each | 2 | Stainless steel hand wash station.
73 | Inflatable Bed | Camp Accommodation | Sleeping Equipment | each | 36 | Inflatable bed, 190 × 100 × 30 cm, up to 150 kg load.
74 | Motorised Planting Tool | Site & Outdoor Equipment | Field Machinery | each | 1 | Motorised drill / planting tool with 300 mm drill bit.
75 | Portable Diesel Generator | Power & Lighting | Power Generation | each | 6 | Portable diesel generator, 220V, electric start, 11KVA / 8.8KW.
76 | Folding Tables | Camp Infrastructure | Field Furniture | each | 15 | Folding tables, 180 × 76 × 74 cm.
77 | Foldable Beds | Camp Accommodation | Sleeping Equipment | each | 36 | Foldable beds, 190 × 60 cm.
78 | Warehouse Shelving | Logistics & Warehouse | Storage Shelving | each | 1 | Shelving for EMT warehouse storage.
79 | EMT Uniforms | PPE & Safety Equipment | Protective Clothing | each | 80 | EMT uniforms for team identification and deployment use.
80 | Flags | Office & Training Equipment | Identification & Visibility Materials | each | 6 | Flags for EMT visibility and identification.
81 | EURO Pallets | Logistics & Warehouse | Pallets & Material Handling | each | 100 | EURO pallets for storage and logistics operations.

## Armenian EMT
Armenian EMT equipment
# | Description | Category | Sub-category | UoM | Quantity | Tech Spec
1 | Mobile Hot Water Heater | Hygiene & Sanitation | Water Heating Systems | each | 2 | Mobile flow heater with adjustable water temperature, integrated display and 20L water container.
2 | Triage Tent PRZ 33 | Shelter & Camp Infrastructure | Medical Triage Shelter | each | 1 | Inflatable triage tent, 6.0 × 5.6 × 2.9 m, with ventilation, windows and deployment accessories.
3 | Emergency Response Tent MPZ 36 | Shelter & Camp Infrastructure | Coordination / Hub Shelter | each | 1 | Inflatable emergency response hub tent, 5.6 × 5.6 × 3.3 m.
4 | Emergency Treatment Tent PRZ 44 | Shelter & Camp Infrastructure | Emergency Treatment Shelter | each | 1 | Inflatable emergency treatment tent, 7.95 × 5.60 × 2.90 m.
5 | Minor Injury Tent PRZ 44 | Shelter & Camp Infrastructure | Minor Injury Treatment Shelter | each | 1 | Inflatable tent for minor injury treatment operations.
6 | Maternal Health Tent PRZ 44 | Shelter & Camp Infrastructure | Maternal Health Shelter | each | 1 | Inflatable medical tent for maternal health support.
7 | Headquarters Tent PRZ 44 | Shelter & Camp Infrastructure | Coordination / HQ Shelter | each | 1 | Inflatable coordination and headquarters tent.
8 | Pharmacy Tent PRZ 27 | Shelter & Camp Infrastructure | Pharmacy Shelter | each | 1 | Inflatable pharmacy support tent.
9 | Staff Tent PRZ 44 | Shelter & Camp Infrastructure | Staff Accommodation Shelter | each | 3 | Inflatable staff accommodation and support tent.
10 | Sterilization Tent PRZ 18 | Shelter & Camp Infrastructure | Sterilization Shelter | each | 1 | Inflatable sterilization support tent.
11 | Canteen / Kitchen Tent PRZ 44 | Shelter & Camp Infrastructure | Kitchen & Catering Shelter | each | 1 | Inflatable kitchen and catering support tent.
12 | Morgue Tent PRZ 18 | Shelter & Camp Infrastructure | Mortuary Shelter | each | 1 | Inflatable mortuary support tent.
13 | Warehouse Tent PRZ 44 | Shelter & Camp Infrastructure | Storage Shelter | each | 1 | Inflatable warehouse and storage tent.
14 | Isolation Tent PRZ 27 | Shelter & Camp Infrastructure | Medical Isolation Shelter | each | 1 | Inflatable isolation tent, 6.0 × 4.6 × 3.0 m.
15 | Pop-up Canopy Tent | Shelter & Camp Infrastructure | Field Canopy Shelter | each | 3 | Folding canopy tent, 4 × 6 m, with carrying accessories.
16 | Electric Tent Blower | Power & Lighting | Tent Inflation Equipment | each | 4 | 2000W electric blower for inflatable tent systems.
17 | Divider Curtains | Shelter & Camp Infrastructure | Privacy & Partition Equipment | each | 5 | PVC divider curtains for inflatable PRZ tents.
18 | Smoke Detector | PPE & Safety Equipment | Fire & Smoke Detection | each | 20 | Battery-operated smoke detector for tents and field shelters.
19 | Tent Light | Power & Lighting | Field Lighting | each | 30 | LED floodlight for tents and field operations, IP54 rated.
20 | Voltage Regulator | Electrical Equipment | Power Stabilization | each | 4 | Voltage regulation equipment for stable 230V field power supply.
21 | Inflatable Decontamination Shower | Hygiene & Sanitation | Decontamination Facilities | each | 1 | Inflatable decontamination shower with external basin.
22 | Portable Sewage Pump Kit | Hygiene & Sanitation | Wastewater Management | each | 1 | Portable sewage pump kit with suction pump and hose system.
23 | Cord Reel Extension | Electrical Equipment | Power Distribution | each | 10 | 50 m extension cord reel, IP67 rated.
24 | Water Tank 1000L | Water & Sanitation | Water Storage | each | 1 | Portable 1000L water tank with valve system.
25 | Water Tank 2000L | Water & Sanitation | Water Storage | each | 1 | Portable 2000L water tank with rotary valve and C52 connection.
26 | Water Tank 2000L | Water & Sanitation | Dirty Water Storage | each | 1 | 2000L dirty water storage tank.
27 | Water Tank 2000L | Water & Sanitation | Clean Water Storage | each | 1 | 2000L potable water storage tank.
28 | Water Distribution Valve Set | Water & Sanitation | Water Distribution Components | each | 1 | Rotary valve system with C52 connection.
29 | Water Pipe Adapter | Water & Sanitation | Pipe Fittings & Adapters | each | 1 | Water pipe reduction adapter C52–D25.
30 | Wrench Tool Set | Tools & Maintenance | Hand Tools | each | 1 | High-strength wrench set for field maintenance operations.
31 | Pliers Set | Tools & Maintenance | Hand Tools | each | 5 | Multi-purpose pliers for gripping, cutting and crimping tasks.
32 | Torpedo Level | Tools & Maintenance | Measurement Tools | each | 2 | Torpedo level for construction and setup work.
33 | Adjustable Wrench Set | Tools & Maintenance | Hand Tools | each | 2 | Adjustable wrench and pipe wrench set.
34 | Allen Wrench Set | Tools & Maintenance | Hand Tools | each | 2 | Long-arm hex key wrench set.
35 | Cordless Drill Kit | Tools & Maintenance | Power Tools | each | 2 | Cordless drill / driver kit with chargers.
36 | Screwdriver Set | Tools & Maintenance | Hand Tools | each | 4 | Multi-purpose screwdriver and precision tool set.
37 | Multi-tool Tactical Knife | Tools & Maintenance | Multi-purpose Tools | each | 30 | Stainless steel multitool with knife, pliers, saw and screwdriver.
38 | Rotary Hammer Drill Set | Tools & Maintenance | Power Tools | each | 2 | Cordless hammer drill set for construction and maintenance work.
39 | Hammer Drill Bits & Chisel Set | Tools & Maintenance | Tool Accessories | each | 1 | SDS drill bit and chisel set for masonry and concrete work.
40 | Angle Grinder Tool Kit | Tools & Maintenance | Power Tools | each | 2 | Battery-powered angle grinder tool kit.
41 | Electricity Regulator | Electrical Equipment | Power Stabilization | each | 2 | Voltage stabilization and protection equipment.
42 | Portable Starter / Power Station | Power & Lighting | Emergency Power Equipment | each | 1 | Portable jump starter and emergency power station with compressor and inverter.
43 | Charger & Starter | Power & Lighting | Emergency Power Equipment | each | 1 | Lithium jump starter for gasoline and diesel engines.
44 | Voltage Detector | Electrical Equipment | Electrical Testing Equipment | each | 3 | Adjustable sensitivity voltage detector for AC systems.
45 | Waterproof Power Distribution Board | Electrical Equipment | Power Distribution | each | 6 | IP65-rated waterproof power distribution board.
46 | Industrial Waterproof Plug Set | Electrical Equipment | Electrical Accessories | each | 20 | Waterproof industrial plug and socket system, IP44 rated.
47 | Extension Cord / Power Strip | Electrical Equipment | Power Distribution | each | 10 | Extension cord for indoor and outdoor field use.
48 | High-pressure Water Pump | Water & Sanitation | Water Pumping Equipment | each | 4 | High-pressure water pump for water transfer and pressure boosting.
49 | Jerry Can with Tap | Water & Sanitation | Water Storage & Transport | each | 10 | 20L portable water container with valve.
50 | Wood Hand Saw | Tools & Maintenance | Hand Tools | each | 2 | Hand saw for field maintenance tasks.
51 | Lawn Mower | Site & Outdoor Equipment | Field Maintenance Equipment | each | 1 | Petrol lawn mower for field site maintenance.
52 | Folding Ladder | Tools & Maintenance | Access Equipment | each | 2 | Multi-position telescopic folding ladder up to 3 m.
53 | Self-inflating Sleeping Mat | Camp Accommodation | Sleeping Equipment | each | 35 | Self-inflating sleeping mat, 195 × 60 × 3.8 cm.
54 | Sleeping Bag | Camp Accommodation | Sleeping Equipment | each | 40 | Summer sleeping bag for field accommodation.
55 | Travel Backpack | Camp Accommodation | Personal Equipment | each | 35 | Multi-purpose travel backpack for deployment use.
56 | Tent Heater | Power & Lighting | Tent Heating Equipment | each | 7 | Diesel tent heater with hose and accessory kit.
57 | Inflatable Light Tower | Power & Lighting | Area Lighting Systems | each | 3 | Inflatable field lighting tower for indoor and outdoor use.
58 | Light Tower with Generator | Power & Lighting | Autonomous Lighting Systems | each | 2 | Mobile lighting tower with integrated power source.
59 | Manual Hydraulic Forklift | Logistics & Warehouse | Material Handling Equipment | each | 1 | Manual hydraulic forklift with 2500 kg load capacity.
60 | Waterproof Tarp | Site & Outdoor Equipment | Protective Covers | each | 15 | Multi-purpose waterproof tarp, 5 × 8 m.
61 | Utility Rope | Site & Outdoor Equipment | Rope & Fastening Equipment | each | 10 | Polyester utility rope, 50 m length.
62 | Work Gloves | PPE & Safety Equipment | Protective Gloves | pair | 50 | Cut-resistant work gloves with impact protection.
63 | Hand Flashlight | PPE & Safety Equipment | Portable Lighting | each | 35 | Water-resistant portable flashlight with long battery life.
64 | SkyHydrant Water Purification System | Water & Sanitation | Water Purification | each | 2 | Mobile water purification system, including SkyHydrant units and spare kit.
65 | Gasoline Water Pump for SkyHydrant | Water & Sanitation | Water Pumping Equipment | each | 1 | Gasoline-powered water pump for SkyHydrant operations.
66 | SkyHydrant Hose Fittings Set | Water & Sanitation | Pipe Fittings & Adapters | set | 6 | Hose fittings, couplings, clamps and valves for SkyHydrant water system.
67 | Firefighting Hose for SkyHydrant | Water & Sanitation | Water Distribution Components | each | 1 | 20 m firefighting hose for SkyHydrant system.
68 | Refrigerator | Kitchen & Catering Equipment | Refrigeration Equipment | each | 2 | Direct cooling refrigerator, 122L capacity.
69 | Folding Plastic Bench | Camp Infrastructure | Seating | each | 10 | Folding plastic bench with metal legs.
70 | Folding Plastic Chair | Camp Infrastructure | Seating | each | 50 | Folding plastic chair with metal legs.